## Sheet1
Qnty	Description
	sonic anemometer (CSAT3A)
	IRGA, control unit and temp sensor (EC150, EC100)
	Power supply for sonic/IRGA: 120Vac → 5W @ 10-16Vdc
	Datalogger enclosure:
	CR3000
	Power supply (battery charger + laptop P/S)
	RS-232/RS-485 converter
	RS-232 pigtail adapter
	armored ethernet cable (Cat5e), length?
	ethernet cables, various lengths, straight-thru and cross-over
	serial cables, 6' and 15' (plus adapters and null modem cable?)
	CompactFlash memory cards
	Laptop with LoggerNet
	flow meter (TSI 4042?) with AC adapter and analog output cable

	FIS
	coaxial data cables, possibly 7+
	ozone generator